Shipping cell pelleted to RNA Center:

- Complete sample manifest (download a blank copy here) and email to rnacenter@ucsd.edu.

• Please be sure to complete all fields

• Please be sure that your samples are in 1.5 mL tubes clearly labeled with the same Sample ID as indicated on your sample submission form.

• Please also label the side of the tubes with your last name.

- Samples must be flash frozen in liquid nitrogen or dry ice + ethanol. Each of the samples bust be submerged for at least 30 seconds before storage in -80C before shipping.

- Samples must be shipping on sufficient amount of dry ice. Good rule of thumb is 10 pounds of dry ice for 24 hours of shipping.

Shipping Address:

RNA Center

Room 3113, Wet Lab

2880 Torrey Pines Scenic Drive

Sanford Consortium for Regenerative Medicine

La Jolla, CA 92037

eCLIP: Preparation and UV crosslinking of cultured cells

Required materials:

- UV crosslinker with 254-nm wavelength

- Liquid nitrogen or dry ice (flash freezing samples)

- 1 x DPBS (chilled)

- Cell counting system

Note: On day of harvest, cell viability must exceed 95% to ensure RNA integrity.

ENCODE uses approximately 20 million cells per replicate, equivalent to one 10 cm plate of HEK293 cells.

For Adherent Cells (HepG2 & HEK293)

- Aspirate media, and wash the plate gently 1x with chilled PBS.

- Add a thin layer of PBS just enough to cover cells (3 mL for 10 cm dish, 500 µl per       well of 6 well).

- Put plate(s) on a layer of leveled ice or chilled metal block and place inside the crosslinker.  Be sure to remove the lid before crosslinking.

- Remove plate lids and start UV cycle (400 mJ/cm2, i.e. type 4000 into Energy setting, takes ~60 sec).

- After crosslinking, scrape cells. For cells like neurons (especially if highly confluent) it may be possible to detach the cells as a sheet by pipetting around the edge of the cells until the entire sheet is free.

- Harvest cells with a serological pipette and collect in a 15 mL conical tube. Keep the tube on ice.

- Wash the plate with a small amount (3-5 mL) of PBS and add to the harvested cells.

- Spin at 300 x g for 3 min.

- Aspirate supernatant and resuspend cell pellet in PBS to desired cell concentration per milliliter PBS.

- Dispense volume corresponding to desired cell number in 1.5 ml microcentrifuge tubes or 15 ml conical tubes.

- Spin at 300 x g for 3 min.

- Aspirate PBS and flash freeze pellet in liquid N2, ideally. Store at -80 until use.

For Suspension Cells (K562)

- Start by counting your cells in culture.

- Spin down cells to be crosslinked at 300 x g for 3 min.

- Aspirate media and resuspend pellet in PBS to a concentration of ~6 million cells/ml. Place on ice.

- Chill 10 or 15 cm dish(es) on ice or on ice cold metal block.

- Add cells to chilled dish(es). 10 cm dish = 3 ml (~18-20M cells), 15 cm dish = 10 ml (~60M cells).

- Remove dish lids and crosslink on ice or cold metal block (400 mJ/cm2, i.e. type 4000 into energy setting, takes ~60 sec).

- After crosslinking, transfer all cells into conical or bottle and place on ice.

- Wash dish(es) with small amount of PBS to retrieve additional cells and add to rest of cells.

- Spin crosslinked cells at 300 x g for 3 min.

- Resuspend crosslinked cells in cold PBS to a concentration of 20M cells/ml.

- Add 1 ml of crosslinked cells into labeled 1.5ml Eppendorf tubes.

- Spin at 300 x g for 3 min.

- Aspirate PBS and flash freeze pellet in liquid N2 (ideally) or dry ice. Store at -80 until use.